## Slide 1: VIKASH KUMAR SSE/EL/PS
OPEN ACCESS

## Slide 2: INTRODUCTION
OPEN ACCESS IS NECESSARY FOR UTILIZATION OF SHORT TIME SURPLUSES.
OPEN ACCESS WILL ALSO CREATE OPTIONS FOR DISTRIBUTION COMPANIES TO BUY POWER.
OPEN ACCESS WILL PROVIDE MEANS TO THE TRADERS/BUYERS/SELLERS.

## Slide 3: DEFINITION OF “OPEN ACCESS” IN THE ELECTRICITY ACT, 2003
THE NON-DISCRIMINATORY PROVISION FOR THE USE OF TRANSMISSION LINES/ DISTRIBUTION SYSTEM BY ANY LICENSEE/ CONSUMER/ A PERSON ENGAGED IN GENERATION IN ACCORDANCE WITH THE REGULATIONS SPECIFIED BY THE APPROPRIATE COMMISSION”

## Slide 4: WHY OPEN ACCESS
PROVISION OF NON DISCRIMINATORY OPEN ACCESS.
OPENING OF ELECTRICITY MARKET.
INCREASES CHOICES FOR ALL STAKEHOLDER.
A VIBRANT, DYNAMIC AND COMPETITIVE MARKET.
SUPPLY OF POWER TO ALL
OPTIMAL USE OF RESOURCES.

## Slide 5: OPPORTUNITIES FOR GENERATING COMPANIES
NO LICENSE REQUIRED FOR DEVELOPING A GENERATING STATION
COULD SELL POWER TO ANY PERSON OR ORGANISATION THROUGH OA
EASY CHANGE IN PURCHASER IN THE EVENT OF DEFAULT IN HONORING CONTRACT BY PURCHASER

## Slide 6: OPPORTUNITIES FOR CONSUMERS
BUY POWER FROM ANY WHERE; COULD EXPLORE CHEAPER SOURCES; SPECIALLY USEFUL FOR HIGH DEMAND CONSUMERS.
INDUSTRIAL HOUSES COULD CONSOLIDATE POWER SUPPLY TO PLANTS AT VARIOUS LOCATIONS & BUILD CAPTIVE POWER PLANT TO ACHIEVE ECONOMY.

## Slide 7: TYPES OF OPEN ACCESS
SHORT TERM OPEN ACCESS(STOA):- OPEN ACCESS ALLOWED FOR THE PERIOD OF LESS THAN ONE MONTH.
MEDIUM TERM OPEN ACCESS (MTOA):- OPEN ACCESS ALLOWED FOR A PERIOD OF 3 MONTHS TO 5 YEARS

## Slide 8: CONT…..
LONG TERM OPEN ACCESS (LTOA): OPEN ACCESS ALLOWED FOR A PERIOD EXCEEDING 07 YEARS.

## Slide 9: PRE-REQUISITES OF OPEN ACCESS
SPECIAL ENERGY METERS ARE REQUIRED TO BE INSTALLED FOR ENERGY ACCOUNTING.
AVAILABLE TRANSMISSION CORRIDOR.
CONTRACT DEMAND SHOULD BE MORE THAN 1 MW.
PAYMENT SECURITY FOR AVAILING OPEN ACCESS.

## Slide 10: STOA PROCEDURE
ADVANCE SCHEDULING: THREE MONTHS IN ADVANCE (MONTH WISE TRANSACTIONS)
TIME LINE FOR SUBMISSION/ LAST DATE FOR SUBMISSION(-10/-5/0 DAY TO END OF CURRENT MONTH)
CUT-OFF TIME OF APPLICATION 17:30 HRS OF LAST DAY(DAY 0) REQUEST FOR CONCURRENCE(RLDC)–BY 12:00 HRS NEXT DAY(DAY 1)

## Slide 11: CONT..
CONCURRENCE-BY 20:00 HRS(DAY 1)
CONGESTION IN FORM APPLICANT BY NODAL RLDCS–NEXT DAY 12:00 HRS(DAY 2)- FORMAT-IV(CONGESTION INFORMATION-ADVANCE SCHEDULING)
REVISED REQUEST–NEXT DAY 11:00 HRS (DAY 3)-FORMAT-V-REQUEST FOR REVISION DUE TO CONGESTION)

## Slide 12: CONT..
E-BIDDING–INCASE OF CONGESTION(DAY 4)
ACCEPTANCE/REFUSAL OF SCHEDULING REQUEST–(DAY 5)-FORMAT-VI-ACCEPTANCE FOR SCHEDULING BY NODAL RLDCS.

## Slide 13: LTOA PROCEDURE
RECEIPT OF APPLICATION FOR LONG TERM OPEN ACCESS BY CTU IN THE
PRESCRIBED FORMAT
CTU TO CARRY OUT SYSTEM STUDIES WITHIN 30 DAYS OF RECEIPT OF
APPLICATION TO DETERMINE WHETHER:
SCENARIO-I
OPEN ACCESS CAN BE ALLOWED
WITHOUT ANY
SYSTEM STRENGTHENING
SCENARIO-II
ADDITIONAL SYSTEM STRENGTHENING
WOULD BE REQUIRED FOR DESIRED
OPEN ACCESS

## Slide 14: PROCEDURE – SCENARIO - I
APPLICANT TO CONFIRM WITHIN 30 DAYS TO SIGN BPTA
OTHERWISE APPLICATION SHALL BE CANCELED
LONG TERM OPEN ACCESS – EFFECTIVE ONLY AFTER SIGNING OF BPTA

## Slide 15: PROCEDURE – SCENARIO - II
 | Responsibility | Time frame | Activity
RECEIPT OF APPLICATION | POWER GRID | 30 DAYS | COMMUNICATE NECESSITY OF SYSTEM STRENTHNING COST FOR CARRYING OUT STUDIES
CONSENT FOR STUDIES | APPLICANT | 30 DAYS | COMMUNICATE TO POWER GRID THE CONSENT FOR CARRYING OUT STUDIES
RECEIPT FOR COST | POWER GRID | 90 DAYS | COMMUNICATE STUDY RESULT, PRELIMINARY COST ESTIMATE & COMPLETION SCHEDULE
 | APPLICANT | 30 DAYS | CONFIRM ACCEPTANCE OF RESULT
 |  | 90 DAYS | EXECUTE BPTA WITH POWER GRID AND OTHER TRANSMISSION LICENSEE
 |  | 15 DAYS | FORWARD AGREEMENT SIGNED WITH OTHER TRANSMISSION LICENSEE.

## Slide 16: TYPES OF TRANSACTIONS:
IN GENERAL THE BUYER AND SELLER OF ELECTRICITY CAN GO FOR BILATERAL OR COLLECTIVE TRANSACTIONS.
IN BILATERAL TRANSACTIONS A PPA IS SIGNED BETWEEN THE BUYER AND SELLER, WHICH IS GENERALLY FACILITATED BY A TRADER FOR A LITTLE MARGIN.
IN CASE OF COLLECTIVE TRANSACTIONS THE ELECTRICITY IS TRADED THROUGH EXCHANGES, BY EXCHANGE MEMBERS FOR A VERY SMALL MARGIN FIXED BY COMMISSION.

## Slide 17: CHARGES PAYABLE FOR OPEN ACCESS
TRANSMISSION CHARGES .
SCHEDULING AND SYSTEM OPERATION CHARGES PAYABLE TO STATE LOAD DISPATCH CENTRE (SLDC).
WHEELING CHARGES.
CROSS SUBSIDY SURCHARGE
ADDITIONAL SURCHARGE
STANDBY CHARGES
IMBALANCE AND REACTIVE ENERGY CHARGES (AS APPLICABLE)

## Slide 18: LIST OF TRADERS - OPEN ACCESS FOR CONSUMERS
COMPANY NAME:-
TATA
REGL
ADANI
KALYANI POWER

## Slide 19: OPEN ACCESS –ISSUES CONCERNING DISCOMS
FORECASTING DEMAND AND SUPPLY OF OPEN ACCESS MEANS LOSS OF LOAD.
DISCOMS CONTINUE PAYING CAPACITY CHARGES THUS INCREASING FINANCIAL BURDEN.
LOAD MANAGEMENT: MOST INDUSTRIES ONLY MEET THEIR BASE LOAD THROUGH OPEN ACCESS.
REST OF THE TIMES DISCOMS HAVE TO SUPPLY WHEN LOAD IS VARIABLE.
THIS MAKES LOAD MANAGEMENT A TRICKY ISSUE.

## Slide 20: CONT..
DETERMINATION OF OPEN ACCESS CHARGES: IF THE COMMISSION CAN NOT DETERMINE THE TARIFF OF CONSUMERS HAVING POWER REQUIREMENT OF 1 MW AND ABOVE THEN DETERMINATION OF OPEN ACCESS SURCHARGE IS IMPOSSIBLE.

## Slide 21: OPEN ACCESS –ISSUES CONCERNING CONSUMERS
AVAILABILITY OF GRID MOST OF THE INDUSTRIES NOT ON INDEPENDENT FEEDERS 
IN CASE OF LOAD SHEDDING IN THERE AREA THEY WILL ALSO NOT GET POWER 
AVAILABILITY OF POWER GENERATORS WANT TO SELL POWER IN BULK (50-100 MW IN SINGLE CONTRACT)

## Slide 22: CONT..
INDUSTRIES TYPICALLY HAVE A DEMAND OF APPROX 5MW 
HENCE GETTING POWER ON OPEN ACCESS DIFFICULT
TRADERS MAY ACT AS AGGREGATORS 
DISCOMS CHARGING VERY HIGH STAND-BY CHARGES
CROSS SUBSIDY SURCHARGE

## Slide 23: OPEN ACCESS –OTHER ISSUES
METERING: FOR EFFECTIVE IMPLEMENTATION OF OPEN ACCESS AVAILABILITY BASED TARIFF (ABT) METERS NEEDS TO BE INSTALLED WHICH IS A VERY COMPREHENSIVE TASK.
ENERGY ACCOUNTING: SLDCS ARE NEITHER TECHNICALLY EQUIPPED NOR HAVE TRAINED MAN POWER TO CARRY OUT ITS VARIOUS FUNCTIONS.

## Slide 24: CONT..
INADEQUATE TRANSMISSION CAPACITY LITTLE MARGIN IN TRANSMISSION NETWORK FOR SHORT TERM TRANSACTIONS.
STATE TRANSMISSION INFRASTRUCTURE NEEDS TO BE STRENGTHENED

## Slide 25: THANK YOU